# Stormwater Management Plan (Clean Version)

Cleaned version with narrative and reporting language removed. BMPs and requirements preserved.

Example Section:

BMP 3.1.2 Investigate illicit discharges.
The City will investigate, remove or require removal of illicit discharges. Investigations will be initiated within two working days of notification. Records will be maintained until resolution.